| ［ 公司名稱 Company Name ］ 品質管理 — Quality Management | QTS-IUX2-ITR-000002 版次 Rev：— 狀態：APPROVED |
| --- | --- |

檢驗及測試記錄 INSPECTION & TEST RECORD

| 編號 Reference No. | QTS-IUX2-ITR-000002 | 主旨 Subject | Level 3 Slab Pour Inspection (Re-check) |
| --- | --- | --- | --- |
| 檢驗日期 Inspection Date | 2026-09-30 | 版次 Version | — |
| 到期日 Due Date | — | 結案日期 Close-out Date | — |
| NOI 編號 NOI No. | QTS-IUX2-NOI-000001 | 承包商 Contractor | Meridian Concrete Works Ltd. |
| 關聯 ITP Related ITP | QTS-IUX2-ITP-000001 | NCR 編號 NCR No. | — |
| 狀態 Status | Approved | 提出人 Raised By | — |

QTS-IUX2-CHK-000002 — Rebar Cover & Lap Splice Check (Re-check)（Pass）

| # | 項目 Item | 標準 Criteria | 現況 Situation | 結果 Result |
| --- | --- | --- | --- | --- |
| 1 | Rebar cover thickness | 40mm +/-5mm per S-301 Rev.C | Re-checked rebar cover and lap splice after the C5-C6 soffit patch repair referenced in the prior inspection cycle; patched area now shows uniform finish with no exposed aggregate or voids. All 8 cover readings re-verified within tolerance (43mm-46mm). Formwork release agent residue on the patched section was cleaned prior to re-inspection per the contractor's method statement MS-C-014 Rev.1. SITU-MARK-TWO-xyz789 | 合格 Pass |

不符合地點  Found Location

Block C / Level 3 / Grid C4-C7

說明  Details/Description

Level 3 Slab Pour Inspection (Re-check)

| 1 製表 Prepared By 姓名：____________ 日期：____________ 單位 Company：____________ | 2 複核 Reviewed By 姓名：____________ 日期：____________ 單位 Company：____________ | 3 核准 Approved By 姓名：____________ 日期：____________ 單位 Company：____________ |
| --- | --- | --- |